## Slide 1
Couch & Couch motor
1D platform
RealSense depth camera
a)
b)

## Slide 2: Couch Tracking Flowchart –with Intel Realsense depth camera UDPsender_realtime.py
Couch
Input Trace
Couch Motor
Depth camera
Frame No. Timestamp, ROI1, ROI2
Platform moves in 1D, based on the input trace.
Depth camera measures depth values in real-time. Write to csv file, frame number, timestamp, ROI1 depth values (1D platform), ROI2 depth values (couch)
Couch is receiving ROI1 depth values via UDP in real-time. Motor travel in opposite direction of 1D platform to achieve motion compensation.
*** For code details please see couch tracking pseudocode document.
1D platform

## Slide 3: Couch Tracking with pre-recorded trace Flowchart – UDPsend_trace.py
Input Trace
Depth camera
Frame No. Timestamp, ROI1, ROI2
UDP sender
Couch Motor
Depth camera
Frame No. Timestamp, ROI1, ROI2
1D platform
Couch

## Slide 4
Intel RealSense depth camera
(Surface tracking)
Couch Compensation
KIM
(Internal motion tracking)
Other methodologies…

## Slide 5
Tracking Target
(6Dof Robotic arm/
1D motion platform)
Movable Couch
Tracking Tool
(KIM/
Depth measurement)
Target being tracked,
Positional measurement generated
Measurements are sent to couch via UDP
Isocenter
Target motion range
Compensated motion range

## Slide 6
KIM
(Generated measurements)
Router
Ethernet connection
Ethernet connection
Integrated Raspberry Pi & DC motor drive
Monitor
Keyboard & Mouse
USB Connection
Motor power supply
Linear actuator motor
Couch
6 degree-of-freedom
robotic arm
Phantom
Elekta/Varian kV imager
kV images in real-time
Track internal motion
Clinical experiment hardware setup
Router establishes private UDP communication with pre-set fixed IP address
Robotic arm moves phantom to simulate patient internal motion
Phantom positions are tracked by kV imager, measurements are generated by KIM algorithm
Pi receives measurements and operate couch to perform motion compensation

## Slide 8
Router
Ethernet connection
Ethernet connection
Integrated Raspberry Pi & DC motor drive
Monitor
Keyboard & Mouse
USB Connection
Motor power supply
Linear actuator motor
Couch
6 degree-of-freedom
robotic arm
Phantom
Intel RealSense Depth Measurement
Track surface motion
Laboratory experiment hardware setup
Router establishes private UDP communication with pre-set fixed IP address.
Robotic arm moves phantom to simulate patient internal motion.
Phantom surface positions are tracked by depth camera.
Pi receives measurements and operate couch to perform motion compensation.

## Slide 9
Robotic arm to replicate target motion
Couch
Linear actuator motor
Intel Realsense depth camera

## Slide 10
Raspberry Pi connection

## Slide 11: Couch Hardware
Couch Motor
https://www.firgelliauto.com.au/products/bullet-series-50-cal-linear-actuators
Tested highest speed 12mm/s with no load. Higher load decreases the motor speed.
System control
Raspberry Pi enables motor operation and executes motion compensation.
Raspberry Pi Model 4B 8GB RAM with at least 16GB SD card.
https://www.raspberrypi.com/products/raspberry-pi-4-model-b/